TURBulence METHODS

Microstructure profilers, ADCPs, Wire-Walker, Moored thermistors, Eddy correlation

Table of Contents

1.	Microstructure profilers	2

1.1.	Data	2

1.2.	Scripts structure, overview of the analysis	2

1.3.	Metadata information, key parameters	2

1.4.	STEP 1 – Configuration file update	2

1.5.	STEP 2 – Profile extraction	2

1.6.	STEP 3 – FP07 calibration	2

1.7.	STEP 4 – Odas shear analysis (quick_look)	2

1.8.	STEP 5 – Salinity & density	2

1.9.	STEP 6 – Pressure correction	2

1.10.	STEP 7 – Thorpe displacements	2

1.11.	STEP 8 – Bins creation	2

1.12.	STEP 9 – Filtering & despiking	2

1.13.	STEP 10 – Diffusivity and viscosity	2

1.14.	STEP 11 – Acceleration, vibration and inclination flagging	2

1.15.	STEP 12 – Shear spectral analysis	2

1.16.	STEP 13 – FP07 spectral analysis	2

1.17.	STEP 14 – Spectral analysis flagging	2

1.18.	STEP 15 – Eddy diffusivity and Ozmidov length scale	2

2.	ADCP	3

3.	Wire-walker	3

4.	Moored thermistor	3

5.	Eddy correlation	3

# Microstructure profilers

## Data

Data collection (sensors, methods) & format

## Scripts structure, overview of the analysis

## Metadata information, key parameters

Parameters specified in the structure “param.info” in the function “load_parameters”:

| Parameter | Unit | Type | Meaning | Default value |
| --- | --- | --- | --- | --- |
| system | - | String | Name of the lake | ‘default’ |
| pmin | dbar | Double/Float | Minimum depth to start the profiles in the first profile detection algorithm | 0 |
| pmax | dbar | Double/Float | Maximum depth of the binned profiles | 30 |
| dp | m | Double/Float | Bin overlap | 0.5 |
| dpD | m | Double/Float | Bin size | 1 |
| prof_dir | - | String (‘up’ or ‘down’) | Profiling direction | ‘down’ |
| mindur_detect | s | Double/Float | Minimum duration of the profiles to detect | 30 |
| minvel_detect | m/s | Double/Float | Minimum velocity of the profiles to detect | 0.1 |
| minKT |  |  | ? | 1 |
| fAA | Hz | Double/Float | Maximum frequency for calculations fn (90% of anti-aliasing filter f_filter. E.g., if f_filtter=98 Hz, fn=0.9*98=88.2 Hz) | 90 |
| Tspec | - | String (‘K’=Kraichnan or ‘B’=Batchelor) | Reference temperature spectrum to fit to the observations | ‘K’ |
| q | - | Double/Float | Turbulent parameter (constant) in the theoretical temperature spectrum | 5.26 |
| num_fft | - | Integer | ? | 3 |
| int_range | - | String (‘L’=Luketina and Imberger, 2001 or 'S'=Steinbuck, 2009) | Integration range | ‘L’ |
| time_corr | - | String ('RSI', 'KOC'= Kocsis, 'NAS'=Nash et al., 1999 ) | FP07 time response correction method determining the parameter “tau” | ‘NAS’ |
| time_res | s | Double/Float | Nominal FP07 response time tau_0 (only used with ‘KOC’ and ‘NAS’ methods) | 0.0058 |
| Nasmyth_spec | - | String (‘ODAS’ or ‘EPFL’) | Method for Nasmyth spectral fitting ? | ‘EPFL’ |
| noise_corr | - | String (none or ‘Goodman’) | Method for noise correction ? | ‘Goodman’ |
| npoles | - | String (single' or 'double') | Type of FP07 time response correction | ‘single’ |
| kmax_factor |  |  |  | 1/1.66 |
| despike_sh |  | 1*3 array of double/floats | Parameters to remove spikes in shear data (ODAS function “despike”) | [ 8 0.5 0.04] |
| despike_A |  | 1*3 array of double/floats | Parameters to remove spikes in accelerometer data (ODAS function “despike”) | [8 0.5000 0.0400] |
| peak_rem_T1, peak_rem_T2 |  |  |  | [0,0] |
| noisep_T1, noisep_T2 |  |  |  | [-10.08+0.25,-0.97,param.info.fAA] |
| ksfact | m-1 | Double/Float | Upper bound of the inertial-convective subrange, as in Steinbuck et al. (2009) | 0.04 |
| Snfact | - | Double/Float | Maximum acceptable signal to noise ratio, as in Goto et al. (2016) | 1.55 |

## STEP 1 – Configuration file update

## STEP 2 – Profile extraction

## STEP 3 – FP07 calibration

## STEP 4 – Odas shear analysis (quick_look)

## STEP 5 – Salinity & density

## STEP 6 – Pressure correction

## STEP 7 – Thorpe displacements

## STEP 8 – Bins creation

Bin-averages

## STEP 9 – Filtering & despiking

## STEP 10 – Diffusivity and viscosity

## STEP 11 – Acceleration, vibration and inclination flagging

## STEP 12 – Shear spectral analysis

Two theoretical spectra: Panchev & Kesich or Nasmyth (see Sanchez et al., 2011)

## STEP 13 – FP07 spectral analysis (function gradT_dis_spec.m)

Two theoretical spectra: Batchelor or Kraichnan

### Temperature gradient detrending

### Power spectral density computation

The power spectral density of the fluctuations (with respect to the bin average) of the detrended temperature gradient x=gradT [°C/m] is computed with csd_odas():

% This function is provided by RSI in the ODAS libraries.

% Alternatively, pwelch can be used obtaining comparable results.

[PSDT,fr] = csd_odas(x-nanmean(x),x-nanmean(x),sL,scalar_info.fs,[],sOV,'linear');

% [PSDT,fr] = pwelch(x-nanmean(x),hann(sL),sOV,sL,scalar_info.fs,'onesided');

Where PSDT [°C2.s.m-2] is the auto spectrum of x and fr  [s-1] are the corresponding frequencies ranging from 0 to the Nyquist frequency (half of the sampling frequency fs/2).

### Conversion from time to space

The frequency spectrum is converting to the space domain (wavenumbers) using Taylor’s frozen hypothesis that states that temporal changes in temperature measured at one location are spatial changes in temperature that are advected by turbulent eddies at the “flow” velocity W (sinking speed of the profiler here). As a result, temporal frequencies f are directly related to wavenumbers k=f/W.

%% convert the frequency spectrum into the corresponding wavenumber spectrum (Taylor's frozen turbulence hypothesis)

PSDT=PSDT*W;

k = fr/W;

PSD=PSDT;

### Time response correction

Correct the spectrum based on the FP07 time response. Three methods can be used to determine the parameter τ that defines H from either single pole or double poles correction.

%% Time-response correction

if strcmp(time_corr,'KOC') % as in Kocsis et al. (1999)

tau = tau_0*W.^-0.5;

elseif strcmp(time_corr,'RSI') % as in Vachon and Lueck (1984)

F0 = 25*sqrt(W);

tau = (2*pi()*F0/sqrt(sqrt(2)-1))^(-1);

elseif strcmp(time_corr,'NAS') % as in Nash et al. (1999)

tau = tau_0*W.^-0.12;

elseif strcmp(time_corr,'SOM') % as in Sommer et al. (2013)

tau = 0.010;

else

error('Error: time_corr can be RSI, KOC or NAS')

end

%% Single or double correction

if strcmpi(npoles,'single')

H = 1./(1 + (2*pi()*tau*fr).^2);

H_lim=0.1;

elseif strcmpi(npoles,'double')

H = 1./(1 + (2*pi()*tau*fr).^2).^2;

H_lim=0.1;

end

PSD_raw=PSD;  % Raw spectrum

PSD = PSD./H; % Corrected spectrum

### Noise spectrum

The noise spectrum is computed with the ODAS function gradT_noise_odas() or with the function FP07noise().

%% Noise function (according to the function provided by RSI in the ODAS libraries)

noise_info=gradT_noise_odas;

noise_info.gamma_RSI = 1;

noise_info.E_n = 3e-9;

Sn = gradT_noise_odas(T_dT, T_string, W, fr, setupstr,noise_info); % Noise spectrum [(K/m)^2/Hz].

Sn = Sn*W;

Sn = Sn./H;

Sn(1) = 0;

% Alternatively, the noise can be computed as follows

% noisep = sensor dependent parameters. E.g. [-10.24,-0.89,fAA]

% where fAA = frequency of the anti-aliasing filter

% Sn = FP07noise(noisep,fr);

% Sn = Sn*W;

% Sn = Sn.*(2*pi()*k).^2;

% Sn = Sn./H;

% Sn(1) = 0;

### Integration range

%% First search

for i = 1:length(ktest)

kS = k1;   % The Steinbuck et al. (2009) lower limit is not considered during the first round

kL = max([kS,k1]);

ikL = find(k>=kL,1,'first');

ikfit = ikL:iknM0;

[cost(i), Xif0(i),Steo] =  cost_T_fit(k, PSD, ktest(i), ikfit, Tdis, q, dof, Sn,D,Snfact);

end

LKHtest = - cost;

ML = max(LKHtest);

iML = find(LKHtest == ML);

kB00 = ktest(iML);

BATf0 = Tspec(Tdis,Xif0(iML),kB00,k,D,q);

kP=kB00/sqrt(6*q); % k at the peak

%% Look for the lower integration limit kL

if strcmp(int_range,'S')     % If only Steinbuck et al. (2009) condition

kLuk=k1; islope=2;

elseif strcmp(int_range,'L') % If only Steinbuck et al. (2009) + Luketina and Imberger (2001) conditions

% Find the intersection between observed and theoretical spectra

diffS = (PSD-BATf0)./abs(PSD-BATf0);

ikL = find(diffS<0,1,'first');

if ~isempty(ikL) && abs(PSD(ikL)-BATf0(ikL))>abs(PSD(ikL-1)-BATf0(ikL-1))

ikL=ikL-1;

end

% This was not mentioned in Luketina, it is a double check on

% the existence of an actual finestructure pattern.

% Calculate the slope of the first part of the spectrum using an increasing window

% Note: k(1) and PSD(1) = 0 --> the window starts from the 2nd point.

% The iteration starts from the 4th point to have at least 3 points to calculate the slope

ikP = find(k<=kP,1,'last');

slope=NaN(1,iknM0);

for i=4:iknM0

X=log10(k(2:i)); Y=log10(PSD(2:i));

X=[ones(length(X),1) (X)];

b=X\Y;     % \ computes the least square fit

slope(i)=b(2);

end

if ~isempty(ikL)

[vslope,islope]=nanmin(slope(1:min(ikP,ikL))); % find the minimum of the slope

if vslope>0 || nanmean(slope(1:islope))>0 % if the minimum slope is > 0, then

islope=2;

end

else

islope=2;

end

kLuk = min([k(islope),k(ikL),kP]);

end

%% Second search

cost = nan(size(ktest));

Xif0 = nan(size(ktest));

dk = ktest(2)-ktest(1);

for i = 1:length(ktest)

kS = ksfact*Pr^(-0.5)*kB00;    % Note: kS is based on the previous best

kL = max([kS,kLuk]);           % Note, if int_range=='L' here we consider the Luketina and Imberger (2001) condition

ikL = find(k>=kL,1,'first');

ikfit = ikL:iknM0;

[cost(i), Xif0(i)] =  cost_T_fit(k, PSD, ktest(i), ikfit, Tdis, q, dof, Sn,D,Snfact);

end

LKHtest = - cost;

ML = max(LKHtest);

iML = find(LKHtest == ML);

kB00 = ktest(iML);

BATf0 = Tspec(Tdis,Xif0(iML),kB00,k,D,q);

kP=kB00/sqrt(6*q); % k at the peak

%% Update the lower integration limit

if strcmp(int_range,'S')     % If only Steinbuck et al. (2009) condition

kLuk=k1;

elseif strcmp(int_range,'L') % If only Steinbuck et al. (2009) + Luketina and Imberger (2001) conditions

diffS = (PSD-BATf0)./abs(PSD-BATf0);

ikL = find(diffS<0,1,'first');

ikP = find(k<=kP,1,'last');

if ~isempty(ikL) && abs(PSD(ikL)-BATf0(ikL))>abs(PSD(ikL-1)-BATf0(ikL-1))

ikL=ikL-1;

end

if ~isempty(ikL)

[vslope,islope]=nanmin(slope(1:min(ikP,ikL))); % find the minimum of the slope

if vslope>0 || nanmean(slope(1:islope))>0 % if the minimum slope is > 0, then

islope=2;

end

else

islope=2;

end

kLuk = min([k(islope),k(ikL),kP]);

end

ikL = find(k>=kLuk,1,'first');

%% Third, refined search

MLp = -cost_T_fit(k, PSD, kB00+dk, ikfit, Tdis, q, dof, Sn,D,Snfact);

MLm = -cost_T_fit(k, PSD, kB00-dk, ikfit, Tdis, q, dof, Sn,D,Snfact);

deltak0=abs((2*dk)/sqrt(2*ML-MLm-MLp));

deltak = max([deltak0,dk]);

kmin2 = max([kB00-deltak,k(ikL+1)]);

kmax2 = kB00+deltak;

ktest = linspace(kmin2,kmax2,40);

clear cost Xif0

cost = nan(size(ktest));

Xif0 = nan(size(ktest));

for i = 1:length(ktest)

kS = ksfact*Pr^(-0.5)*kB00;    % Note: kS is based on the previous best

kL = max([kS,kLuk]);            % Note, if int_range=='L' here we consider the Luketina and Imberger (2001) condition

ikL = find(k>=kL,1,'first');

ikfit = ikL:iknM0;

[cost(i), Xif0(i)] =  cost_T_fit(k, PSD, ktest(i), ikfit, Tdis, q, dof, Sn,D,Snfact);

end

LKHtest = - cost;

MLKH = max(LKHtest);

iML = find(LKHtest == MLKH);

Xi_T = Xif0(iML);

kB = ktest(iML);

kP=kB/sqrt(6*q); % k peak

BATf = Tspec(Tdis,Xi_T,kB,k,D,q);

## STEP 14 – Spectral analysis flagging

## STEP 15 – Eddy diffusivity and Ozmidov length scale

# ADCP

# Wire-walker

# Moored thermistor

# Eddy correlation